## Generic scope of works
PRELIMINARIES
Public Liability Insurance
Commercial Builders Indemnity Insurance
Registered Commercial Building Practitioner
Complete full construction documentation for permit approval
Building permit and approvals
Obtain building management and building owner consent
Certificate of final inspection including compliance certification
Project Management throughout project
Delivery and loading of materials to site
Plastic floor protection as required
Removal of debris from site including waste management
Site cleaning during and upon completion
DEMOLITION
Disconnect and make safe for demolition
Remove existing joinery and furniture to suit new layout
Demolish existing walls and doors and remove rubbish
Remove existing ceiling in reception and breakout area
CONSTRUCTION
Construct new rooms as per plans provided
Meeting rooms and offices to be constructed from aluminium partition suite
Walls to be constructed from full height metal stud and plaster partition with acoustic insulation and plaster
Walls to be constructed from full height aluminium frame and 10.38mm glass with compliance film band
Supply and Install new MDF doors to new rooms
Removal of debris from site
Clean on completion
PAINTING
Prepare new walls and make ready for paint
Paint new walls and doors to selected colour
JOINERY
Supply and construct new Joinery
Supply and install new kitchen to suit new layout
Kitchen to be constructed from laminate with laminate benchtops tops
Insert additional joinery as needed
FLOOR COVERINGS
Supply and lay new commercial grade timber vinyl plank as noted
Supply and install new commercial grade carpet
Grind existing concrete slab in reception and break out room and polish
MECHANICAL
Relocate existing air registers to suit new layout
Test and balance system on completion
All works to be carried out by a licensed contractor to Australian standards
ELECTRICAL
Supply and install necessary exit and emergency lights for compliance
Disconnect and make safe for demolition
New Cat6 Data points to suit new layout
Patch panels to suit new data points
New power circuits and safety switches to australian standards
New circuits and safety switches for workstations
Double gpo power points to suit new layout
Supply and install new feature lighting
Relocate exiting lighting where required
Test and certify on completion

## Costing Breakdown
Fitout Estimating
Trade |  | Total cost ex GST | Total including GST | Comment
Preliminaries |  | 0 | 0
Furniture |  | 0 | 0
Fixtures & Appliances |  | 0 | 0
Electrical and Data |  | 0 | 0
Floor coverings |  | 0 | 0
Plumbing |  | 0 | 0
Construction |  | 0 | 0
Painting |  | 0 | 0
Signage |  | 0 | 0
Joinery |  | 0 | 0
Fire services |  | 0 | 0
Mechanical |  | 0 | 0
Other Please specify |  | 0 | 0
Total | Cost | 0 | 0

## Timeline
Item | Proposal acceptance | Week 1 | Week 2 | Week 3 | Week 4 | Week 5 | Week 6 | Week 7 | Week 8 | Week 9 | Week 10
Acceptance
Preliminaries | bar: Week 1 to Week 2
Permit | bar: Week 2
Start on site | bar: Week 3
Construction | bar: Week 3 to Week 7
Final inspections | bar: Week 7
Practical completion | bar: Week 8
Handover | bar: Week 9
Program lead time | 2 weeks
Program length | 7 weeks
Start date
Practical completion date